Laboratory Techniques & Procedures

Purpose:

Working in the chemistry laboratory, you will be handling potentially dangerous substances and performing unfamiliar tasks. This section provides you with a guide to the safe laboratory techniques needed, in this course. Pay attention as your instructor demonstrates the techniques described below since you will be required to duplicate them throughout the year. While performing experiments throughout the year, refer back to this section any time you are unsure of proper laboratory techniques.

Filtering a Mixture

Sometimes it is necessary to separate a solid (for example,.a precipitate) from a liquid.   The most common method of separating such a mixture is filtration.

1.   Fold a filter paper circle in half and then quarters. Open the folded paper to form a cone, with one thickness of paper on one side and three thicknesses on the other.

2.   Put the paper cone in a filter funnel. Place the funnel in an iron ring clamped to a ring stand. Moisten the filter paper with a small volume of distilled water, and gently press the paper against the sides of the funnel to achieve a good fit. (If the correct size of filter paper has been used, the top edge of the cone will be just below the rim of the filter funnel.)

3.   Place a beaker beneath the funnel to collect the filtrate. The tip of the funnel should touch the inside surface of the beaker and extend about one inch below the rim.

4.   Decant the liquid from the solid (precipitate) by pouring it down a glass stirring rod into the funnel. Be careful to keep the liquid below the top edge of the cone of filter paper at all times; the liquid must not overflow. Finally, use a jet of distilled water from a wash bottle to wash the solid (precipitate) into the filter.

5.  When the filtration is complete, wash the solid residue on the filter paper with distilled water to remove traces of solvent. Dry the solid.

6.   If the filtrate contains a dissolved salt, it may be recovered by evaporation if desired.

Pouring Liquids

•    Always read the label on a reagent bottle before using its contents.

•    Always wear safety goggles when using an open flame or handling chemicals.

•    Never touch chemicals with your hands.  Wash hands immediately if chemicals do come in contact with skin.

•  Never return unused chemicals to their original containers. To avoid waste, do not take excessive amounts of reagents.

Follow these procedures when pouring liquids:

1.  When you are transferring a liquid to a test tube or measuring cylinder, the container should be held at eye level. Pour the liquid slowly, until the correct volume has been transferred.

2.   When you are pouring a liquid from a reagent bottle into a beaker the reagent should be poured slowly down a glass stirring rod. When you are transferring a liquid from one beaker to another, you can hold the stirring rod and beaker in one hand.

Using a Gas Burner

Laboratory gas burners produce various kinds of flames when different mixtures of gas and air are burned. The two most common models are the Bunsen burner and the Tirrell burner. Both have adjustable air vents; the Tirrell burner has a gas control valve in its base.

1.	Do not use a burner when flammable chemicals are present.

2.	Connect the burner to the gas supply, with rubber tubing.

3.	Close the air vents. If your model is a Tirrell burner, also close the gas control valve at the base of the burner.

4.	Position a sparker or Hold a lighted match at the top of the burner tube and turn on the gas supply. Do this by opening the main gas supply nozzle to which you attached the rubber tubing. (If your model is a Tirrell burner, open the gas control valve at the base approximately one half-turn, after opening the main gas supply valve.) You should get a yellow, or luminous, flame. When a Tirrell burner is used, the main gas supply valve should be opened fully and the gas flow regulated by the gas control valve. If using a sparker allow some gas to collect in the cup before igniting.

6.   Open the air vents slowly, to admit more air into the flame, to produce a light blue (nonluminous) cone-shaped flame. If the flame "blows out" after lighting, the gas supply should be reduced.

7.   Adjust the air vents and gas to produce the desired size of flame. For most laboratory work the blue inner cone of the flame should be about 1 inch high and free of yellow color. If you want a smaller flame, close the air vent slightly and reduce the gas supply. You will learn how to control the burner flame by trial and error.

8.   Turn the burner off at the main gas supply valve when done.

CAUTION: Confine long hair and loose clothing when using a gas burner. Do not reach over a burner. Ensure that flammables are not being used when a burner is lit. Never leave a lit burner unattended. Know the location of fire extinguishers, the fire blanket, and safety shower.

Heating Liquids

Heating a liquid in a Test Tube

The correct procedure for heating liquids in the laboratory is important to laboratory safety.

1.   Adjust your gas burner to produce a gentle blue flame.

2.   Fill a test tube one-third full with the liquid to be heated.

3.   Grasp the test tube with a test-tube holder, near the upper end of the tube.

4.   Hold the test tube in a slanting position in the flame, and gently heat the tube a short distance below the surface of the liquid.

5.   Move the tube gently as it is being heated, until the liquid boils or reaches the desired temperature.

CAUTION: Never point the open end of a test tube you are heating either toward yourself or anyone working nearby. Never heat the bottom of the test tube.

Heating a Liquid in a Beaker

Many laboratory experiments require the use of a hot water or boiling water bath. In order to preclude mineral deposits we will use distilled water. This procedure describes how to assemble a water bath.

1.   Fasten an iron ring securely to a ring stand so that it is above the top of a gas burner placed on the ring stand base.

2.  Place a 400-mL beaker one-half-filled with water on wire gauze resting on the iron ring. Use heavy-duty glass when heating if possible.

3.   Light your gas burner and adjust it to produce the desired flame.

4.   Place the burner beneath the wire gauze. For a slower rate of heating, reduce the intensity of the burner flame.

CAUTION: Never heat plastic beakers or graduated glassware in a burner flame. Never let a boiling water bath boil dry, add water to it as necessary.

5.   Do not discard the hot water bath unless instructed to do so.

Measuring Volume

Volume measurements are important in many experimental procedures. Sometimes volume measurements must be accurate; other times they can be approximate. Most volume measures in the laboratory are made using equipment calibrated in milliliters. Although some beakers have graduation marks, these marks are designed only for quick, rough estimates of volume.  Accurate volumes must be measured with pipettes, burettes, or volumetric flasks.

Using a Graduated Cylinder

Half-fill a 100-mL graduated cylinder with water, and set the cylinder on your laboratory bench.  Examine the surface of

the water.   Notice how the surface curves upward where the water contacts the cylinder walls.   This curved surface is

called a meniscus.

A volume measurement is usually read at the bottom of the meniscus, with your eye at the same level as the liquid

surface.  To make the meniscus more visible, you can place your finger or a dark piece of paper behind and just below the

meniscus while making the reading.

Graduated cylinders are available in many capacities.  The 100-mL cylinder is marked in 1-mL divisions, and volumes

can be estimated to the nearest 0.1 -mL. The last digit in these measurements is therefore significant but uncertain.

Using a Pipet

A pipet is used to accurately measure and deliver volumes of liquids. Two types are in common use: volumetric pipettes and graduated, or measuring, pipettes. The use of a volumetric pipet will be described. A volumetric pipet has a single calibration mark and delivers the volume printed on the bulb of the pipet at the temperature specified. (A graduated pipet has calibrations along the length of the pipet.) Volumes can be measured more accurately with a volumetric pipet than with a graduated pipet.

1.   Place the tip of the pipet below the surface of the liquid to be dispensed.

2.   Compress a pipet bulb and press the hole in the bulb against the upper end of the pipet. CAUTION: Never fill a pipet by applying suction with your mouth. Never push the pipet bulb over the end of the pipet.

3.   Slowly release pressure on the bulb so that liquid is drawn into the pipet to a level about 2 cm above the calibration mark.

4.   Remove the bulb and simultaneously place your index finger over the end of the pipet.  If you are right-handed, you should hold the pipet in your right hand and the pipet bulb in your left.

5.  Keep your index finger pressed firmly against the end. Withdraw the pipet from the liquid, and carefully wipe the outside of the stem with a paper towel.

6.   Slowly reduce the pressure on your finger to allow the excess liquid to drain into a waste receiver, until the bottom of the meniscus is at the calibration mark.

7.  Now, deliver the remaining liquid in the pipet into the designated receiver. When releasing liquid from a volumetric pipet, let it drain completely. Wait 20 seconds, then touch the pipet tip to the side of the flask or surface of the liquid. This action will remove some, but not all, of the liquid in the tip. The pipet delivers the stated volume when this procedure is followed. A small amount of liquid remains in the tip. Do not blow this out into your receiver.

Measuring Mass

In many experiments you are required to determine the mass of a chemical used or produced in a reaction. An object's mass is determined by measuring it on a balance. When we determine the mass of an object, we are comparing its mass with a known mass. In the SI the base unit of mass is the kilogram.

There are many types of laboratory balances. The one used most frequently in schools is the triple beam centigram balance. The following general rules apply to the use of all balances:

•   Check the balance before you start weighing. The balance pan should be empty and clean, and all masses (or dials) should be set on zero. The balance must be level. See your teacher if you need assistance with checking your balance.

•   Objects to be weighed directly on the balance pan must be clean, dry, and at room temperature. Solid chemicals and liquids must never be put directly on the balance pan. Liquid samples should be placed in beakers or sealed containers. Solid chemicals can be conveniently placed in beakers, disposable plastic weighing boats, or on 10-cm

squares made of glossy paper.

•   The balance is a precision instrument that must be handled with care.  To avoid damaging it, always be sure that the

balance is in an arrested position when objects are placed on or removed from the pan. Always turn all dials slowly.

•    Never move or jar either a balance or the balance table once it is set

•    If you spill a chemical on or near the balance, clean it up immediately. If in doubt, inform your teacher.

•    Never attempt to weigh an object with a mass greater than the maximum capacity of the balance.

•    When you finish weighing, return all the masses to zero, and make sure the balance pan is clean.

Using a Centigram Balance

1.  Examine a centigram balance. The maximum capacity for this balance is 600 g and the sensitivity (limit of detection) is 0.01 g. The balance has three beams and three riders.

2.   Move all the riders to their zero points (to the left side of their respective beams). Ensure that the riders rest in the notches on the beams.

3.  Check to see that the beam is balanced. The pointer should move the same distance above and below the zero line on the scale or come to rest at the zero line. Use the zero adjustment screw if necessary. Always zero the balance before you begin any weighing. When the balance has been checked and adjusted, you are ready to begin weighing.

4.    Place the object whose mass is to be determined on the pan.

5.   Slide the riders gently along the beams, one at a time, beginning with the largest. If a beam is notched, be sure that the rider is in a notch. Note that all the beams have notches except the one carrying the smallest rider. When the added masses (the positions of the riders) are equal to the mass of the object on the pan, then the pointer will be on the zero line. It may also swing equal distances above and below the zero line.

6.   To record the mass of the object, sum the masses indicated by the positions of the riders on their respective beams.

7.   Return all riders to zero and remove your sample. Make sure that the balance pan is left clean.

Glassworking

Cutting and Fire Polishing

1.	Place the glass tubing or glass rod on a flat surface (such as the laboratory bench).

2.	Hold the glass tightly with one hand close to the area to be cut.

3.	Using a firm stroke, make a single deep scratch with a triangular file

CAUTION: Do not use a sawing motion or repeated scratching as this may cause multiple scratches.

4.   Grasp the glass in both hands, with the scratch facing away from you and both thumbs directly behind the scratch.

5.   Push firmly with the thumbs and pull with your fingers. The glass should snap with a clean break.

CAUTION: Be careful with the cut ends of the glass. They may be sharp and jagged.  Do not attempt to break glass tubing having an outside diameter greater than 6 mm.

6.   The cut ends of the glass tubing should be fire-polished to make the tubing safe to handle. Rotate one end of the glass tube in the hottest part of a burner flame, until the sharp edges have softened and become rounded.

CAUTION: Do not hold the tubing in the flame too long. If you do. the hole in the tube will close.

7.   Place the hot glass on a wire gauze square to cool.

CAUTION: Hot glass and cold glass look alike. Make sure one end of a piece of glass has cooled before you attempt to fire-polish the other end.

Bending Glass Tubing

8.   Put a wing top or flame spreader on your gas burner.

9.   Light the burner and adjust the flame to produce an even blue (hot) flame across the wing top.

10. Grasp a length of glass tubing that has been fire-polished at both ends. Hold the center of it lengthwise in the flame, just

at the top of the blue region. This is the hottest part of the flame.

11. Rotate the tubing in the flame to heat approximately a 5-cm section uniformly, until it becomes soft and begins to sag.

12. Remove the tubing from the flame and bend it to the desired shape in one movement.

13. When it has hardened, put the glass tubing on wire gauze to cool.

CAUTION: Hot and cold glass look alike.